**Attachment No. 1: Template of an offer form**

Name and address of the Contractor:……………………………………………………

Contact person..…………………………………Phone number………………………………… e-mail: ………………………………………………….

Subject of the contract: **Set of 2 micromanipulators.**

|  |  |  |  |
| --- | --- | --- | --- |
|  | DESCRIPTION and scoring of parameters and requirements | Compliance with the requirement (YES/NO) | NOTES |
| 1. | **Set of 2 micromanipulators** for patch-clamp recordingwith the following parameters and functions:   * Mountable on „Gibraltar”platform M6 * Motorized * Right- and left-handed * Travel 25mm on all 3 axes * Diagonal axis * Minimal resolution 62,5 nm * Maximal speed 2mm/s * Movement display on the rotary optical encoder * At least 6 microstep sizes selectable * Controller and rotatory optical encoder/joystick * Cables 220-240 V, 50-60Hz * Screws, other accessories necessary for the operation | (YES/NO) |  |

Net……………………………………………… price .

.……….%VAT………………

Gross………………………………………… price

Order completion date .………… days from the date of signing the contract (max. 60 days).

Warranty:min. ……………………. (min. 12 months).

The price should be given with the currency e.g. USD, PLN, EURO.

Offer total price in PLN will be estimated in accordance with BGK Bank currency sale exchange rate on the day of 26.08.2021.

I have read the model agreement attached as Appendix No. 2 to the inquiry and I do not raise any objections to it.

…………………………………………… …………………......………………………… Place, date Signature and stamp of the Contractor

Pasteur 3, 02-093 Warsaw, e-mail: j.ciecko@nencki.edu.pl; <http://www.nencki.edu.pl_>