**Attachment No. 1: Template of an offer form**

Name and address of the Contractor:……………………………………………………

Contact person..…………………………………Phone number………………………………… e-mail: ………………………………………………….

Subject of the contract: **Amplifier with 2 channels**

|  |  |  |  |
| --- | --- | --- | --- |
|  | DESCRIPTION and scoring of parameters and requirements | Compliance with the requirement (YES/NO)  | NOTES |
| 1. | **The amplifier with two channels for electrophysiological recording in live tissue**The offer should include:* amplifier with 2 channels
* 2 headstages
* software to control the amplifier
* software to record data
* software to analyze data
* 2 models of artificial cell
* cord cable
* USB cable
* accessories such as electrode holders

Technical parameters:* suitable for electrophysiological recordings in voltage- and current- clamp
* suitable for whole-cell patch-clamp recording and sharp electrodes
* four rages of resistors for voltage-clamp (50megaohms to 50 gigaohms)
* three ranges of resistors for current-clamp (2nA-200nA)
* 2 scaled BNC outputs
* 2 telegraphs
* automatic suppression of compensation if oscillation appears
* automatic current injection
* compatible with WIN 10 with the possibility to up-grade to new WIN system if necessary
* compatible with Dididata 1550B1
* software “easy to go”, no scrips needed, with the possibility to configure protocols
* post-warranty service
* reaction of technical support no longer than 72 hrs
* training (optional)
* the equipment is new-brand, no after-exposition
 | (YES/NO)(YES/NO) |  |

Net……………………………………………… price (EUR, USD, PLN) .

.……….%VAT………………

Gross………………………………………… price (EUR, USD, PLN)

Order completion date .………… days from the date of signing the contract (max. 60 days).

Warranty:min. ……………………. (min. 12 months).

The price should be given with the currency e.g. USD, PLN, EURO.

Offer total price in PLN will be estimated in accordance with NBP Bank currency sale exchange rate on the day of opening the offers.

I have read the model agreement attached as Appendix No. 2 to the inquiry and I do not raise any objections to it.

 …………………………………………… …………………......………………………… Place, date Signature and stamp of the Contractor

Pasteur 3, 02-093 Warsaw, e-mail: j.ciecko@nencki.edu.pl; <http://www.nencki.edu.pl_>